26.9.2013 things site engineers must know

# Things Site Engineers Must Know

Posted in Student Corner |  Email This Post |

Minimum thickness of slab is 125 mm.

Water absorption should not be more than 15 %.

Dimension tolerance for cubes + – 2 mm.

Compressive strength of Bricks is 3.5 N /mm2

Maximum Free fall of concrete allowed is 1.50 m.

In soil filling as per IS code for every 100 sqm 3 sample for core cutting test should be taken.

Electrical conduits shall not run in column

Earth work excavation for basement above 3 m should be stepped form

Any back filling shall be compacted 95% of dry density at the optimum moisture content and in layers not more than 200mm for filling above structure and 300 mm for no structure

F soling is specified the soling stones shall be laid at 45° to 60° inclination (and not vertical) with interstices filled with sand or moorum.

A set of cube tests shall be carried out for each 30 cum of concrete / each levels of casting / each batch
of cement.

Water cement ratio for different grades of concrete shall not exceed 0.45 for M20 and above and 0.50 For M10 / M15 contractor

For concrete grades M20 and above approved admixture shall be used as per mix design requirements.

Cement shall be stored in dry places on a raised platform about 200mm above floor level and 300mm away from walls. Bags to be stacked not more than 10 bags high in such a manner that it is adequately protected from moisture and contamination.

Samples from fresh concrete shall be taken and at least a set of 6 cubes of 150mm shall be prepared and
cured. 3 Cubes each at 7 days and 28 days shall be tested for compressive strength. The test results
should be submitted to engineer for approval. If results are unsatisfactory necessary action/rectification/remedial measures has to be exercised.

Water used for both mixing and curing shall be clean and free from injurious amounts of oils, acids, alkalies, salts, sugar and organic materials or other substances that may be deleterious to concrete or steel. The ph shall be generally between 6 and 8.

Cement shall be tested for its setting. 
1. The initial setting time shall not be less than 30 minutes.
2. The final setting time shall not be more than 10 hours.

Slump IS 456 
Lightly reinforced 25 – 75 mm
Heavily reinforced 75 – 100 mm
Trench fill (insitu & Tremie) 100 – 150 mm (For Tremie no need of vibrator)

Curing Days Required 
Super Sulphate cement : 7 days
Ordinary Portland cement OPC : 10 days
Minerals and Admixture added cement : 14 days

Cube Samples
1 – 5 M3 : 1 No.
6 – 15 M3 : 2 No’s
16 – 30 M3 : 3 No’s
31 – 50 M3 : 4 No’s
Above 50 M3 : 4 + 1 No of addition sample for each 50 M3.

Things Site Engineers Must Know About Reinforcement and Steel Bars

Check out the Unit Weights and Conversion which will be required on construction site here

We at engineeringcivil.com are thankful to Er Vikrant for submitting this construction site check list which is of great use to all civil engineers.

More Entries :

- Simple Testing Of Admixtures And Surface Coating For Permeability To Water.

- Concrete Mix Design – M60 Grade Of Concrete (OPC 53 Grade)

- Concrete Mix Design – M70 Grade of Concrete (OPC 53 Grade)

- Mix Design M-50 Grade

- Pervious Concrete – Effect of Material Proportions on Porosity

- Mix Design M-40 Grade

- What is the purpose of keeping tremie pipe’s tip immersed in freshly-placed concrete for about 1m in underwater concreting?

- What is the purpose of keeping tremie pipe’s tip immersed in freshly placed concrete for about 1m in underwater concreting?